BUILDING CONTROL

WHY?                    WHEN?                    WHAT?                        HOW?

Why are building regulations and building control necessary?

The simple answer is that Building Regulations and hence the Building Control Service are necessary to ensure that a minimum standard of health and safety is achieved for people in and around buildings. They also require adequate access and facilities for disabled persons as well as specifying measures to control energy consumption. However, it must be remembered that they are not a control of quality. You should make your own separate supervisory arrangements in this respect should you consider it necessary.

When will you need to apply?

The regulations apply to any 'building work' and therefore you will need to make an application before proceeding.  The definition of 'building work' is contained within the regulations. However, in general terms it covers the erection and/or extension of any type of building (with certain exemptions, see 'Exempt Buildings and Extensions' later in the text), the installation of works and fittings such as new waste appliances, new drainage and heating appliances, alterations to the structure of a building, work affecting means of escape in case of fire, replacement doors and windows or changing the use of a building.

Building work does not cover repair items, but certain operations which you may consider a repair are not considered exempt under the regulations and therefore will require an application. Examples of this are underpinning and replacing a defective roof covering with a heavier or lighter tile or slate.

Should you have any doubts, or even to double check your own conclusions, please contact the Building Control office, it may save you considerable problems in the future. It should be remembered that even if the work does not require approval under the Building Regulations - it may require approval under other legislation e.g. Planning Permission.

What do the regulations cover?

The regulations cover the greater majority of the constructional elements and details of the building:-

- Structural stability

- Fire and means of escape

- Weather resistance

- Sound insulation

- Ventilation

- Sanitary conveniences and bathrooms

- Above and below ground drainage

- Heating appliances

- Stairways and ramps

- Conservation of fuel and power

- Facilities and access for all, including people with disabilities

- Safety glazing

- Electrical Safety

As you can see even for the most straightforward of projects considerable detail is required. You will also note that 'utility supplies' ie. gas, electricity and water supply are not included, these are subject to regulations applied by the supply companies.

How does the system work?

Firstly a valid application must be received prior to the commencement of any building work. This may take the form of a Building Notice or Full Plans application.

Plans submitted under the Full Plans procedure are examined for compliance with the regulations and an approval is issued at the appropriate time. Under both methods the work is inspected at various stages again to ensure the requirements of the regulations are being met.

Fees may be applicable both at submission and inspection stage and again further details are to be found under "Fees for Building Control Service" later in the text.

MAKING A BUILDING REGULATION APPLICATION

There are two methods of making an application under the Building Regulations, they are:-

1)  Full Plans Submission, and

2)  Building Notice Procedure

It is important that the applicant is aware at an early stage of the differences between the methods and the problems that may be encountered.

Full Plans Submission

This requires the submission of full construction drawings, details and specification of the intended scheme prior to work commencing on site. A detailed appraisal of the proposals will be carried out by the Building Control Service. You will be sent an appraisal letter which details items that require additional information, clarification or some other form of amendment.  Once you have satisfactorily answered these queries a formal Notice of Approval will be issued which remains valid for three years from date of deposit, You are then safe in the knowledge that providing you and your builder constructs strictly in accordance with those plans, and any conditions on the approval, the regulations will be satisfied. A surveyor will be appointed and will be your initial point of contact throughout the build programme.

(It should be remembered however that the regulations do not cover everything).

Minor variations in construction can be agreed as work progresses, major changes may require amended details to be submitted (variations may need to be dealt with separately and differently under other legislation e.g. planning permission).

Building Notice Procedure

A Building Notice submission does not require the submission of plans with the Notice, other than in the case of the erection or extension of a building, a block plan at a minimum scale of 1:1250 is required. (see note on back of Building Notice Application form). The authority may however require details to be submitted during the construction process, if, without them they are unable to ensure compliance with the regulations.

Once the Notice is received and providing the fee is correct you will be issued with a Building Notice Acceptance letter. You should note that this does not in anyway indicate prior approval of your proposals. Although, this process may appear advantageous it has disadvantages.

(1) You and/or your builder have no approved plans to work to. Whilst the inspecting officer will endeavour to anticipate problems, delays and costly remedial works may be necessary if the work carried out does not comply with the Building Regulations.

(2) You may find that without plans you and your builder have different ideas in respect of detail and general design issues outside of the Building Regulations. Enforcement of any "contract" between you may prove difficult.

(3) The 'estimate' the builder gives you may prove inaccurate without the benefit of full design information.

INSPECTION PROCESS

Site inspections may be carried out following “statutory notifications” and certain other stages, the use of the Building Notice procedure may require additional inspections. These are set out below with notes which may assist you or your builder.

(1) Commencement (Statutory Notification)

The Building Control Surveyor will usually respond to this notification unless pressure of other inspections prevents it. He will use the opportunity to generally discuss the project, remind "the builder" of any conditions on the approval and check that the site is as shown, particularly in respect of drain layout and depths.

(2) Foundation excavation (Statutory Notification)

This inspection is to ensure that the ground upon which the building is to be founded is satisfactory. The Building Control Surveyor will consider various aspects during this inspection, including

(a)	The load bearing capacity of the ground

(b)	The proximity and depth of any drain runs and manholes

(c)	Any indication of filled ground, generally or limited areas

(d)	The depth of existing foundations

(e)	Proximity of trees, or trees already removed

In ground with any clay content a minimum foundation depth of 900 - 1000mm is normally required, but deeper foundations should be anticipated.

(3) Foundation concrete (Statutory Notification)

This is a statutory inspection however it is generally more useful  for the blockwork to be built up to damp proof course level and the inspection carried out before backfilling. The position of the walling on the foundations can be checked and any special details inspected.

(4) Oversite (Statutory Notification)

The main points will be the suitability of any hardcore used, sand blinding to protect the damp proof membrane, the dpm itself is of the correct thickness and any joints are rolled or taped, sufficient dpm is left turned up the walls to tie in with dpc (new and existing), the floor insulation is laid with tight joints and turned up the edge of the slab.

(5)  DPC (Statutory Notification)

The damp proof course will be checked to ensure suitability and width of material, laps at joints, lapped over existing dpc, clear of cavity internally. The dpc/cavity arrangements at the junction with the existing will also be checked. Any concrete fill within the cavity must finish at least 150mm below dpc level. Generally there is no objection to some walling having been laid above dpc level, when the inspection is carried out. This enables us to ensure external wall construction is correct at this level.

(6) Laying of drains (Statutory Notification)

A number of details including those listed below, will be looked at on this inspection and the request should be submitted before the drains are backfilled.

(a)	Suitability of material used

(b)	Fall and line of drain

(c)	Material used for bed and surround

(d)	Access points

(7) First Fix (Non-statutory Notification)

The size, grade and centre of floor joists will be checked together with bearings, lateral restraint straps and herringbone strutting. Grade and centre of roof timbers together with bracing, lateral restraint and wall plate straps will be checked. It is advisable to request the inspection prior to felt and battens being applied. Other structural elements can be inspected a this stage including steel beams etc.

(8) Test on drains (Statutory Notification)

An air or water test of all above and below ground drainage is required. It is helpful if the test can be set up and ready for the Building Control Surveyor when they call. It is appreciated that this may cause difficulty when existing drains are affected. To assist you in this situation a timed appointment can generally be arranged.

(9) Occupation (Statutory)

When a building is occupied before completion the Authority should be notified.

(10) Completion (Statutory)

This is the inspection for which notification is most often forgotten. However, it is in your interest as many items can be checked at this stage, such as:

(a) Fire precautions and requirements (these can apply even in a small extension)

(b) Ventilation to rooms and roof voids

(c) Waste details

(d)Roof coverings and insulation

(e)Staircase details

(f) Safety glazing

Completion Certificate

The certificate will be issued on satisfactory completion of the work only if:

- All the relevant statutory and non-statutory inspections have been notified and carried out, any remedial works completed and where necessary re-inspected and accepted as satisfactory.  Your Building Control Surveyor will make it clear if a re-inspection is required.

- Any additional inspections requested by the Building Control Surveyor during the period of construction are satisfactory.

When received, the Completion certificate, together with any approval certificate should be lodged with the Deeds of the property.  In the event of your selling the property it will be requested by the purchaser's Solicitor. It is in your own interest, therefore, to ensure that you or your builder gives all the necessary notification for inspection.

FEES FOR BUILDING REGULATION WORK

Charges are made to cover the cost of the Building Regulation part of the overall Building Control Service. The overall cost is the same whether a Full Plans Submission or the Building Notice Procedure is used, however, the charges are made in a different manner.

Full Plans Submission

- attracts a deposit charge to be paid when the application is submitted

- once the work has started and the first inspection carried out you will be invoiced for any commencement fee which covers all subsequent inspections.

Building Notice Procedure

- the total fee is to be paid with the deposit of the building notice

It should be noted that the full plan submission or a building notice are not considered valid until the correct fee has been received

Finally, please ensure that you have all the necessary permissions and approvals for the proposed work e.g. planning and listed building consent and that you have discharged your obligations under other legislation e.g. Party Wall Act. If in doubt please ask.

GETTING THE WORK DONE

With householders spending hundreds of millions of pounds on home improvements or repairs each year, the Office of Fair Trading has produced a guide to planning and managing work on your home entitled 'Home Improvements' in which they suggest steps to take in order to limit causes for complaint:-

1. Make a plan of what you want done. Don't be pressured into unnecessary work or work you cannot afford. For large or complex jobs, professional advice may well be needed.

2. Get the necessary consents or agreements from your local authority and insurance company. Discuss your plans with your neighbours particularly if there are any issues covered by the Party Wall Act. A booklet is available from Building Control.

3. Seek at least three quotations based on detailed specification, and compare price, conditions, and reputation for reliability and good workmanship.

4. Get a written contract covering all the details of your agreement, notably the work to be done, price, start and completion dates, stage payments and retention periods and the position on delays where time is of the essence.

5. Find out whether a worthwhile guarantee is available, giving cover against a contractor ceasing to trade. Insurance backed schemes may be particularly appropriate.

6. Avoid deposits and advance payments. Use staged payments as a means of keeping the work progressing. Use any retained payment to ensure that defects discovered after completion are put right.

7. Be as clear as possible about the way you will deal with any disputes.

8. Make sure that you play fair with the builder. Pay bills for good work promptly. There is no sense in creating unnecessary problems and bad feeling.

For advice and guidance if problems arise in the purchase of goods and services then telephone Consumer Direct 08454 040506 or Consumer Direct.

LEVEL OF SERVICE

We aim to

- Acknowledge receipt of all applications within three working days.

- Respond to telephone calls within one working day.

- Respond to correspondence within ten working days.

- Examine all plans within ten working days of receipt.

- Inspect all sites on the same day for calls received before 10am.

- Decide all applications within two months.

- Issue Completion Certificates on all projects.

- Provide advice on local ground conditions.

- Suggest amendments to overcome difficulties in complying with the requirements of the Regulations.

- Provide qualified staff with extensive local knowledge.

- Deal with enquiries in a helpful and courteous manner.